## Summary Sheet
INNOVATION CHAIN NORTH
Framework of New build Construction 2024 : MMC Principal Contractor
PRICING SUMMARY SHEET
TENDERER'S NAME | Mansell Building Solutions
SUMMARY OF TOTAL COST FOR MODULAR CONSTRUCTION
LOT | TOTAL
MMC Principal Contractor Lot P1 | 5091182.2929
MMC Principal Contractor Lot P2 | 2871125
NOTE: Where the 'Total' cells above are highlighted red it is taken that the contractor is not tendering for the lot in question. Only pricing in the green highlighted cells will be taken forward.

## MMC Lot P1
INNOVATION CHAIN NORTH
Framework of New build Construction 2024 : MMC Principal Contractor
PRICING SCHEDULE
TENDERER'S NAME | Mansell Building Solutions
MMC PRINCIPAL CONTRACTOR LOT P1
MMC CONSTRUCTION
LOCATION | Greater Manchester, Merseyside, Cheshire, Derbyshire West, Staffordshire, Lancashire, Cumbria
Virtual Project Scenario
Nature of project | New Build Affordable Rent Units |  |  | 27
Size (m2) and Mix (no) of units | 71.6 | 2B3P House |  | 8 | 572.8 | NDSS
| 85.2 | 3B4P House |  | 10 | 852 | NDSS
| 86.1 | 3B4P House (side) |  | 3 | 258.3 | NDSS
| 94.2 | 3B5P House |  | 6 | 565.2 | NDSS
GIFA (m2) | 2248.3
Site Access | Good access direct from main adopted road network
Vandalism risk | High risk - CCTV required with security guard nights and weekends
Length of Contract | 43 | working weeks
Base Date / Commencement Date | 31st January 2024
Form of Contract | JCT Design and Build Contract 2016 edition (as amended) for MMC Projects with a specialist MMC subcontractor
Pricing schedule notes and guidance
1. All rates submitted should be as outlined in the RICS NRM2 Preliminaries (Main Contract)
2. Accommodation and welfare provisions shall be in strict accordance with the CDM Regulations 2015
3. All rates submitted will be applied and used as a basis for the future negotiation of Fixed Price Contracts for all projects within the aforementioned LOT for the full duration of the Framework Agreement. Annual inflationary increases will be applied from the commencement date of the framework and shall be in accordance with BCIS Tender Price Indices or as evidenced to the satisfaction of the instructing client.
4. All items listed below may not be specifically required on every individual project within this LOT. For the purposes of the evaluation each individual item shall be priced or, if included within another item, annotated accordingly identifying which item it is included within. ICN reserves the right to reject any priced schedules submitted with a tender which includes only summary costs or totals which are not fully completed.
5. Should the tenderer deem that a member of the Site Staff and Supervision team will not be required full time on projects within this LOT then the weekly rate shall be adjusted accordingly not the number of weeks. Consideration should be given that the rates inserted will be fixed for future AMP agreements (only subject to inflationary increases as noted above)
6. None of the measured quantities or descriptions are to be altered, all tendering bids are to be based upon a fixed price schedule for consistency.
7. Preliminaries are to be based on a contract period as noted at item 12 below based on acting as MMC Principal Contractor. Each item is to be priced based on the relevant contract period. The period stated should be for time on site and exclude lead in periods for discharge of pre-start planning conditions. Any other pre-start time and specialist co-ordination costs should be included in the preliminaries. Any items not priced will be deemed not to be required on projects of a similar nature within the afoementioned LOT value range for the duration of the Framework Agreement.
8. Tenderers should allow the percentage for profit and corporate overhead [contractors margin] and these are to include: Contractors profit on net costs. Contracting companies corporate operating overheads on net costs which include cost of premises, employment of non site based staff [with the exception of visiting contract surveyors and construction manager] including estimators, customer care teams, business development managers, buyers, planners, resource, scheduling and programmers, directors and heads of departments, accounts, legal, financing, property costs, administration, IT, human resources, telecoms, transport and vehicles, corporate charges. All contractors contributions to Group overheads [where applicable]
9. The tenderer is to assume all transport and cranage of the MMC buildings / frames are by the MMC Sub Contractor
10. The tenderer should note that the MMC Sub Contractor will provide a fully finished volumetric Cat1 modular building and the tenderer should allow for all co-ordination of the works with the MMC Sub Contractor.
11. The tenderer shall complete the pricing schedule based upon the Affordable Rent specification for external works and Standard House Type layouts (as included within the tender documentation) excluding all abnormal costs.
12. The tenderer is to assume that the substructure and infrastructure works will take 19 weeks from possession of the site. The MMC Sub Contractor will utilise a single crane to offload and position 2 houses in 1 day over a 14 week period. Connections and final finishes will then take 10 weeks typically to complete. The MMC Principal Contractor is therefore to assume a total on site period of 43 weeks and allow for all site preparation, substructure and external works, drainage and infrastructure works and on site co-ordination within this period.
Preliminaries | Quantity | Unit | Rate | Total | Notes
Project specific management and Staff
Project Manager | 43 | weeks | 350 | 15050
Contracts Manager | 43 | weeks | 350 | 15050
Site Engineer | 43 | weeks | 315 | 13545
Site Manager | 43 | weeks | 1320 | 56760
Finishing Foreman / Assistant Site Manager | 43 | weeks | 0 | 0
Labourer (including at handover) | 43 | weeks | 825 | 35475
Quantity Surveying / Commercial Management | 43 | weeks | 400 | 17200
Planner | 43 | weeks | 100 | 4300
Health & Safety Officer | 43 | weeks | 100 | 4300
Site establishment
Delivery of temp accommodation to site and removal on completion | 1 | Item | 2000 | 2000
Site office (inc furniture) | 43 | weeks | 50 | 2150
Meeting room (inc furniture) | 43 | weeks | 50 | 2150
Canteens and Kitchens | 43 | weeks | 50 | 2150
Drying room | 43 | weeks | 50 | 2150
Toilets and washrooms | 43 | weeks | 50 | 2150
Secure stores | 43 | weeks | 30 | 1290
Telephones and Photocopiers (connection and charges) | 43 | weeks | 10 | 430
IT systems with email and internet capability | 43 | weeks | 20 | 860
Consumables and services associated with site accommodation | 43 | weeks | 50 | 2150
Fire points and fire fighting equipment | 1 | Item | 250 | 250
Main Contractor's Signboard | 1 | Item | 2000 | 2000
Client/Homes England signboard; production, installation and removal (as ER's) | 1 | Item | 2000 | 2000
Cleaning
Site cleaning | 43 | weeks | 100 | 4300
Site set up
Tarmac and hardcore compound area | 1 | item | 1500 | 1500 | TBA - Job Specific
Temporary roads incl demarcation for safe pedestrian and vehicular routes | 1 | item | 1500 | 1500 | TBA - Job Specific
Temporary fencing to compound area | 1 | item | 1000 | 1000 | TBA - Job Specific
Temporary security fencing to site perimeter | 1 | item | 4000 | 4000 | TBA - Job Specific
Removal of compound on completion; reinstatement | 1 | item | 1500 | 1500 | TBA - Job Specific
Temp Services incl all connections, disconnections and usage
Water supply | 43 | weeks | 100 | 4300
Gas Supply | 43 | weeks | 0 | 0
Electric supply, Lighting and power | 43 | weeks | 100 | 4300
Drainage | 43 | weeks | 20 | 860
Security
Night watchman | 43 | weeks | 1850 | 79550
Pedestrian gates | 1 | item | 250 | 250
Vehicular gates | 1 | item | 1250 | 1250
CCTV cameras set up costs | 1 | item | 3500 | 3500
CCTV weekly charge | 43 | weeks | 50 | 2150
Material distribution
Forklift and driver | 21 | weeks | 1100 | 23100
Site plant
Small Dumper | 21 | weeks | 100 | 2100
Mixer | 21 | weeks | 20 | 420
Road Sweeper including driver and fuel | 21 | weeks | 250 | 5250
Excavator / mini digger including driver and fuel | 21 | weeks | 1100 | 23100
Small tools and equipment | 21 | weeks | 100 | 2100
Health and Safety
1st aid kit | 1 | item | 100 | 100
Health and safety site visits | 1 | item | 0 | 0
Falling from heights | 1 | item | 0 | 0
Fees and charges
Specialist site survey and level survey | 1 | item | 2000 | 2000
As built drawings and manuals | 1 | item |  | 0
CDM regulations and health and safety plan | 1 | item |  | 0
Considerate constructors scheme | 1 | item | 900 | 900
Building Control Fees | 1 | item | 10000 | 10000
Planning Condition Discharge Fees | 15 | no | 250 | 3750 | tenderer to assume there are 15 conditions requiring discharge
Adoption Agreements for Section 278, 104 and 38 Agreements | 1 | item | 30000 | 30000 | tenderer to assume road and sewers on virtual plan to be adopted
NHBC (or equivalent) 12 year structural warranty cover | 1 | item | 54000 | 54000 | tenderer not to include for insolvency cover
Testing and reports
Methane and radon testing and reports | 1 | item | 2500 | 2500
Concrete testing and reports | 1 | item | 2500 | 2500
Dilapidation Surveys | 1 | Item | 1000 | 1000
Handover costs
Snagging costs / inspections | 1 | item |  | 0
Contract cleaners | 1 | item | 5400 | 5400
Clean to external areas | 1 | item | 2500 | 2500
Skips | 2 | no | 300 | 600
Lorry and tipping charges | 1 | item |  | 0
Resident handover packs | 27 | no | 100 | 2700
Insurances and Guarantees
Project specific Insurances | 1 | Item | 10000 | 10000 | TBA - Job Specific
6.5.1 Insurance | 1 | Item | 7500 | 7500 | TBA - Job Specific
Performance bond / parent company guarantee / insolvency cover |  |  |  | NIL | Contractor to indicate on Supplier Questionnaire
Maintenance period
Defects / Maintenance to dwellings | 27 | no |  | 0
External areas - paths, paving and adopted areas | 1 | item |  | 0
Landscaped areas | 1 | item | 2400 | 2400
Total of preliminaries |  |  |  | 487290
Total of preliminaries expressed as a weekly cost |  |  |  | 11332.3256
Overheads and Profit
Corporate overheads (expressed as a %) |  |  |  | 6%
Profit (expressed as a %) |  |  |  | 4%
Overheads and Profit Total |  |  |  | 10%
Construction Costs
2 bed 3 person house (constructed as a mid mews) | Quantity | Unit | Rate | Total | No of units | Total
Substructures
Standard strip foundation 900x600mm with brick and block to DPC including slab and gas membrane | 71.6 | m2 | 176 | 12601.6 | 3 | 37804.8
Total cost for 2B3P mid mews houses (NDSS) | [5 empty] | 37804.8
2 bed 3 person house (constructed as a semi detached) | Quantity | Unit | Rate | Total | No of units | Total
Substructures
Standard strip foundation 900x600mm with brick and block to DPC including slab and gas membrane (expressed as GIFA) | 71.6 | m2 | 176 | 12601.6 | 5 | 63008
Total cost for 2B3P semi detached houses (NDSS) | [5 empty] | 63008
3 bed 4 person House (constructed as a semi detached) | Quantity | Unit | Rate | Total | No of units | Total
Substructures
Standard strip foundation 900x600mm with brick and block to DPC including slab and gas membrane (expressed as GIFA) | 85.2 | m2 | 176 | 14995.2 | 10 | 149952
Total cost for 3B4P semi detached houses (NDSS) | [5 empty] | 149952
3 bed 4 person House (constructed as a semi detached) (side entrance) | Quantity | Unit | Rate | Total | No of units | Total
Substructures
Standard strip foundation 900x600mm with brick and block to DPC including slab and gas membrane (expressed as GIFA) | 86.1 | m2 | 176 | 15153.6 | 3 | 45460.8
Total cost for 3B4P semi detached houses (NDSS) | [5 empty] | 45460.8
3 bed 5 person house (constructed as semi detached) | Quantity | Unit | Rate | Total | No of units | Total
Substructures
Standard strip foundation 900x600mm with brick and block to DPC including slab and gas membrane (expressed as GIFA) | 94.2 | m2 | 176 | 16579.2 | 6 | 99475.2
Total cost for 3B5P Houses (NDSS) | [5 empty] | 99475.2
EXTERNAL WORKS | Quantity | Unit | Rate | Total
Site Preparation Works
Site Clearance (assume 300mm deep inert to landfill) | 7942 | m² | 15 | 119130
Preparatory Groundworks | 7942 | m² | 1 | 7942
Roads, Paths, Paving's and Surfacing's
Adopted Road (tarmac) including all kerbs and dropped kerbs | 814 | m² | 175 | 142450
Adopted footpath 2m wide (tarmac) including all edgings | 592 | m² | 175 | 103600
Non Adopted footpath (tarmac) including all edgings | nil | m² | 150 | 0
Non Adopted Road and Parking Space (tarmac) including all edgings | 900 | m² | 150 | 135000
PCC concrete paving 600x600mm (PC sum £40/m2 supply) incl edgings | 1225 | m² | 75 | 91875
Soft Landscaping, Planting and Irrigation Systems
Turf and topsoil (300mm deep) | 2639 | m² | 16.5 | 43543.5
External low level Planting including topsoil and mulch | 660 | m² | 40 | 26400 | PROV SUM
Tree species (PC sum £300) | 67 | no | 300 | 20100 | PROV SUM
Plot timber gates | 29 | no | 150 | 4350
1800mm high close boarded timber fencing, concrete gravel boards and post | 507 | lm | 80 | 40560
2100mm high close boarded timber fencing, concrete gravel boards and post | 401 | lm | 100 | 40100
External Drainage
Site wide Surface Water and Foul Water Drainage | 1 | item | 81000 | 81000 | PROV SUM
Plot drainage | 27 | item | 3500 | 94500
Land Drainage | 1 | item | 6000 | 6000 | PROV SUM
External Services
Water Mains Supply | 1 | item | 23000 | 23000 | PROV SUM
Electricity Mains Supply | 1 | item | 17250 | 17250 | PROV SUM
Gas Mains Supply | 1 | item | 23000 | 23000 | PROV SUM
Telecommunications and other Communication System Connections | 1 | item | 8250 | 8250 | PROV SUM
External Street Lighting Systems | 1 | item | 11500 | 11500 | PROV SUM
Builder's Work In Connection with External Services | 1 | item | 6000 | 6000 | PROV SUM
Total cost for External Works | [5 empty] | 1045550.5
SUMMARY | [5 empty] | TOTAL COST
Preliminaries | [5 empty] | 487290
Substructure | [5 empty] | 395700.8
External Works | [5 empty] | 1045550.5
MMC Cat 1 volumetric Superstructure @ £95k per plot | [5 empty] | 2565000
Post Contract Design Fees at say 3% | [5 empty] | 134806.239
OH&P | [5 empty] | 462834.7539
TOTAL GREENFIELD SITE COST FOR 27 AFFORDABLE RENT UNITS ACTING AS MMC PRINCIPAL CONTRACTOR WITH A FULLY FINISHED VOLUMETRIC Cat1 MMC SUB CONTRACTOR | [5 empty] | 5091182.2929

## MMC Lot P2
INNOVATION CHAIN NORTH
Framework of New build Construction 2024 : MMC Principal Contractor
PRICING SCHEDULE
TENDERER'S NAME | [insert]
MMC PRINCIPAL CONTRACTOR LOT P2
MMC CONSTRUCTION
LOCATION | Northumberland, Tyne & Wear, Durham, North Yorkshire, West Yorkshire, East Yorkshire, South Yorkshire, North Nottinghamshire, Lincolnshire, Derbyshire East
Virtual Project Scenario
Nature of project | New Build Affordable Rent Units |  |  | 27
Size (m2) and Mix (no) of units | 71.6 | 2B3P House |  | 8 | 572.8 | NDSS
| 85.2 | 3B4P House |  | 10 | 852 | NDSS
| 86.1 | 3B4P House (side) |  | 3 | 258.3 | NDSS
| 94.2 | 3B5P House |  | 6 | 565.2 | NDSS
GIFA (m2) | 2248.3
Site Access | Good access direct from main adopted road network
Vandalism risk | High risk - CCTV required with security guard nights and weekends
Length of Contract | 43 | working weeks
Base Date / Commencement Date | 31st January 2024
Form of Contract | JCT Design and Build Contract 2016 edition (as amended) for MMC Projects with a specialist MMC subcontractor
Pricing schedule notes and guidance
1. All rates submitted should be as outlined in the RICS NRM2 Preliminaries (Main Contract)
2. Accommodation and welfare provisions shall be in strict accordance with the CDM Regulations 2015
3. All rates submitted will be applied and used as a basis for the future negotiation of Fixed Price Contracts for all projects within the aforementioned LOT for the full duration of the Framework Agreement. Annual inflationary increases will be applied from the commencement date of the framework and shall be in accordance with BCIS Tender Price Indices or as evidenced to the satisfaction of the instructing client.
4. All items listed below may not be specifically required on every individual project within this LOT. For the purposes of the evaluation each individual item shall be priced or, if included within another item, annotated accordingly identifying which item it is included within. ICN reserves the right to reject any priced schedules submitted with a tender which includes only summary costs or totals which are not fully completed.
5. Should the tenderer deem that a member of the Site Staff and Supervision team will not be required full time on projects within this LOT then the weekly rate shall be adjusted accordingly not the number of weeks. Consideration should be given that the rates inserted will be fixed for future AMP agreements (only subject to inflationary increases as noted above)
6. None of the measured quantities or descriptions are to be altered, all tendering bids are to be based upon a fixed price schedule for consistency.
7. Preliminaries are to be based on a contract period as noted at item 12 below based on acting as MMC Principal Contractor. Each item is to be priced based on the relevant contract period. The period stated should be for time on site and exclude lead in periods for discharge of pre-start planning conditions. Any other pre-start time and specialist co-ordination costs should be included in the preliminaries. Any items not priced will be deemed not to be required on projects of a similar nature within the afoementioned LOT value range for the duration of the Framework Agreement.
8. Tenderers should allow the percentage for profit and corporate overhead [contractors margin] and these are to include: Contractors profit on net costs. Contracting companies corporate operating overheads on net costs which include cost of premises, employment of non site based staff [with the exception of visiting contract surveyors and construction manager] including estimators, customer care teams, business development managers, buyers, planners, resource, scheduling and programmers, directors and heads of departments, accounts, legal, financing, property costs, administration, IT, human resources, telecoms, transport and vehicles, corporate charges. All contractors contributions to Group overheads [where applicable]
9. The tenderer is to assume all transport and cranage of the MMC buildings / frames are by the MMC Sub Contractor
10. The tenderer should note that the MMC Sub Contractor will provide a fully finished volumetric Cat1 modular building and the tenderer should allow for all co-ordination of the works with the MMC Sub Contractor.
11. The tenderer shall complete the pricing schedule based upon the Affordable Rent specification for external works and Standard House Type layouts (as included within the tender documentation) excluding all abnormal costs.
12. The tenderer is to assume that the substructure and infrastructure works will take 19 weeks from possession of the site. The MMC Sub Contractor will utilise a single crane to offload and position 2 houses in 1 day over a 14 week period. Connections and final finishes will then take 10 weeks typically to complete. The MMC Principal Contractor is therefore to assume a total on site period of 43 weeks and allow for all site preparation, substructure and external works, drainage and infrastructure works and on site co-ordination within this period.
Preliminaries | Quantity | Unit | Rate | Total | Notes
Project specific management and Staff
Project Manager | 43 | weeks |  | 0
Contracts Manager | 43 | weeks |  | 0
Site Engineer | 43 | weeks |  | 0
Site Manager | 43 | weeks |  | 0
Finishing Foreman / Assistant Site Manager | 43 | weeks |  | 0
Labourer (including at handover) | 43 | weeks |  | 0
Quantity Surveying / Commercial Management | 43 | weeks |  | 0
Planner | 43 | weeks |  | 0
Health & Safety Officer | 43 | weeks |  | 0
Site establishment
Delivery of temp accommodation to site and removal on completion | 1 | Item |  | 0
Site office (inc furniture) | 43 | weeks |  | 0
Meeting room (inc furniture) | 43 | weeks |  | 0
Canteens and Kitchens | 43 | weeks |  | 0
Drying room | 43 | weeks |  | 0
Toilets and washrooms | 43 | weeks |  | 0
Secure stores | 43 | weeks |  | 0
Telephones and Photocopiers (connection and charges) | 43 | weeks |  | 0
IT systems with email and internet capability | 43 | weeks |  | 0
Consumables and services associated with site accommodation | 43 | weeks |  | 0
Fire points and fire fighting equipment | 1 | Item |  | 0
Main Contractor's Signboard | 1 | Item |  | 0
Client/Homes England signboard; production, installation and removal (as ER's) | 1 | Item |  | 0
Cleaning
Site cleaning | 43 | weeks |  | 0
Site set up
Tarmac and hardcore compound area | 1 | item |  | 0 | TBA - Job Specific
Temporary roads incl demarcation for safe pedestrian and vehicular routes | 1 | item |  | 0 | TBA - Job Specific
Temporary fencing to compound area | 1 | item |  | 0 | TBA - Job Specific
Temporary security fencing to site perimeter | 1 | item |  | 0 | TBA - Job Specific
Removal of compound on completion; reinstatement | 1 | item |  | 0 | TBA - Job Specific
Temp Services incl all connections, disconnections and usage
Water supply | 43 | weeks |  | 0
Gas Supply | 43 | weeks |  | 0
Electric supply, Lighting and power | 43 | weeks |  | 0
Drainage | 43 | weeks |  | 0
Security
Night watchman | 43 | weeks |  | 0
Pedestrian gates | 1 | item |  | 0
Vehicular gates | 1 | item |  | 0
CCTV cameras set up costs | 1 | item |  | 0
CCTV weekly charge | 43 | weeks |  | 0
Material distribution
Forklift and driver | 21 | weeks |  | 0
Site plant
Small Dumper | 21 | weeks |  | 0
Mixer | 21 | weeks |  | 0
Road Sweeper including driver and fuel | 21 | weeks |  | 0
Excavator / mini digger including driver and fuel | 21 | weeks |  | 0
Small tools and equipment | 21 | weeks |  | 0
Health and Safety
1st aid kit | 1 | item |  | 0
Health and safety site visits | 1 | item |  | 0
Falling from heights | 1 | item |  | 0
Fees and charges
Specialist site survey and level survey | 1 | item |  | 0
As built drawings and manuals | 1 | item |  | 0
CDM regulations and health and safety plan | 1 | item |  | 0
Considerate constructors scheme | 1 | item |  | 0
Building Control Fees | 1 | item |  | 0
Planning Condition Discharge Fees | 15 | no |  | 0 | tenderer to assume there are 15 conditions requiring discharge
Adoption Agreements for Section 278, 104 and 38 Agreements | 1 | item |  | 0 | tenderer to assume road and sewers on virtual plan to be adopted
NHBC (or equivalent) 12 year structural warranty cover | 1 | item |  | 0 | tenderer not to include for insolvency cover
Testing and reports
Methane and radon testing and reports | 1 | item |  | 0
Concrete testing and reports | 1 | item |  | 0
Dilapidation Surveys | 1 | Item |  | 0
Handover costs
Snagging costs / inspections | 1 | item |  | 0
Contract cleaners | 1 | item |  | 0
Clean to external areas | 1 | item |  | 0
Skips | 2 | no |  | 0
Lorry and tipping charges | 1 | item |  | 0
Resident handover packs | 27 | no |  | 0
Insurances and Guarantees
Project specific Insurances | 1 | Item |  | 0 | TBA - Job Specific
6.5.1 Insurance | 1 | Item |  | 0 | TBA - Job Specific
Performance bond / parent company guarantee / insolvency cover |  |  |  | NIL | Contractor to indicate on Supplier Questionnaire
Maintenance period
Defects / Maintenance to dwellings | 27 | no |  | 0
External areas - paths, paving and adopted areas | 1 | item |  | 0
Landscaped areas | 1 | item |  | 0
Total of preliminaries |  |  |  | 0
Total of preliminaries expressed as a weekly cost |  |  |  | 0
Overheads and Profit
Corporate overheads (expressed as a %)
Profit (expressed as a %)
Overheads and Profit Total |  |  |  | 0%
Construction Costs
2 bed 3 person house (constructed as a mid mews) | Quantity | Unit | Rate | Total | No of units | Total
Substructures
Standard strip foundation 900x600mm with brick and block to DPC including slab and gas membrane | 71.6 | m2 |  | 0 | 3 | 0
Total cost for 2B3P mid mews houses (NDSS) | [5 empty] | 0
2 bed 3 person house (constructed as a semi detached) | Quantity | Unit | Rate | Total | No of units | Total
Substructures
Standard strip foundation 900x600mm with brick and block to DPC including slab and gas membrane (expressed as GIFA) | 71.6 | m2 |  | 0 | 5 | 0
Total cost for 2B3P semi detached houses (NDSS) | [5 empty] | 0
3 bed 4 person House (constructed as a semi detached) | Quantity | Unit | Rate | Total | No of units | Total
Substructures
Standard strip foundation 900x600mm with brick and block to DPC including slab and gas membrane (expressed as GIFA) | 85.2 | m2 |  | 0 | 10 | 0
Total cost for 3B4P semi detached houses (NDSS) | [5 empty] | 0
3 bed 4 person House (constructed as a semi detached) (side entrance) | Quantity | Unit | Rate | Total | No of units | Total
Substructures
Standard strip foundation 900x600mm with brick and block to DPC including slab and gas membrane (expressed as GIFA) | 86.1 | m2 |  | 0 | 3 | 0
Total cost for 3B4P semi detached houses (NDSS) | [5 empty] | 0
3 bed 5 person house (constructed as semi detached) | Quantity | Unit | Rate | Total | No of units | Total
Substructures
Standard strip foundation 900x600mm with brick and block to DPC including slab and gas membrane (expressed as GIFA) | 94.2 | m2 |  | 0 | 6 | 0
Total cost for 3B5P Houses (NDSS) | [5 empty] | 0
EXTERNAL WORKS | Quantity | Unit | Rate | Total
Site Preparation Works
Site Clearance (assume 300mm deep inert to landfill) | 7942 | m² |  | 0
Preparatory Groundworks | 7942 | m² |  | 0
Roads, Paths, Paving's and Surfacings
Adopted Road (tarmac) including all kerbs and dropped kerbs | 814 | m² |  | 0
Adopted footpath 2m wide (tarmac) including all edgings | 592 | m² |  | 0
Non Adopted footpath (tarmac) including all edgings | nil | m² |  | 0
Non Adopted Road and Parking Space (tarmac) including all edgings | 900 | m² |  | 0
PCC concrete paving 600x600mm (PC sum £40/m2 supply) incl edgings | 1225 | m² |  | 0
Soft Landscaping, Planting and Irrigation Systems
Turf and topsoil (300mm deep) | 2639 | m² |  | 0
External low level Planting including topsoil and mulch | 660 | m² | 40 | 26400 | PROV SUM
Tree species (PC sum £300) | 67 | no | 300 | 20100 | PROV SUM
Plot timber gates | 29 | no |  | 0
1800mm high close boarded timber fencing, concrete gravel boards and post | 507 | lm |  | 0
2100mm high close boarded timber fencing, concrete gravel boards and post | 401 | lm |  | 0
External Drainage
Site wide Surface Water and Foul Water Drainage | 1 | item | 81000 | 81000 | PROV SUM
Plot drainage | 27 | item |  | 0
Land Drainage | 1 | item | 6000 | 6000 | PROV SUM
External Services
Water Mains Supply | 1 | item | 23000 | 23000 | PROV SUM
Electricity Mains Supply | 1 | item | 17250 | 17250 | PROV SUM
Gas Mains Supply | 1 | item | 23000 | 23000 | PROV SUM
Telecommunications and other Communication System Connections | 1 | item | 8250 | 8250 | PROV SUM
External Street Lighting Systems | 1 | item | 11500 | 11500 | PROV SUM
Builder's Work In Connection with External Services | 1 | item | 6000 | 6000 | PROV SUM
Total cost for External Works | [5 empty] | 222500
SUMMARY | [5 empty] | TOTAL COST
Preliminaries | [5 empty] | 0
Substructure | [5 empty] | 0
External Works | [5 empty] | 222500
MMC Cat 1 volumetric Superstructure @ £95k per plot | [5 empty] | 2565000
Post Contract Design Fees at say 3% | [5 empty] | 83625
OH&P | [5 empty] | 0
TOTAL GREENFIELD SITE COST FOR 27 AFFORDABLE RENT UNITS ACTING AS MMC PRINCIPAL CONTRACTOR WITH A FULLY FINISHED VOLUMETRIC Cat1 MMC SUB CONTRACTOR | [5 empty] | 2871125